# September Fire Calls 2021

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Date | People | Run# | NIFRS | Type & Location | | # | Time |
| 1-Sep | 7 | 487 | 551 | Vehicle/Bicycl e accident - Calumet & 45th, traffic control | | 1 | 9:28 |
| 2-Sep | 11 | 489 | 744 | Smoke Alarm/8808 Columbia/heat from bunsen burners | | 2 | 8:17 |
| 2-Sep | 11 | 490 | 116 | CO Alarm/1141 Melbrook/Hotwater heater burner/extinguished flame/ventilated home | | 3 | 10:41 |
| 2-Sep | 10 | 491 | 733 | Fire Alarm/7905 Calumet/alarm malfunction | | 4 | 14:54 |
| 3-Sep | 11 | 492 | 111 | Garage Flre/9601 Hawthorne/extinguished fire/overhaul performed | | 5 | 21:49 |
| 5-Sep | 13 | 495 | 552 | Vehicle/Bicycle accident - 716 Ridge/FD not needed | | 6 | 9:32 |
| 5-Sep | 16 | 496 | 743 | Fire Alarll'.l/Caf Borgia/caused by cooking/alarm reset by manager | | 7 | 14:40 |
| 5-Sep | 14 | 498 | 424 | CO Alarm/8445 Manor/Water heater Issue/Ventilated and Nlpsco arrived on scene | | 8 | 17:58 |
| 6-Sep | 20 | 499 | 20 | Dumpster Fire/1708 Camellia/charcoal in dumpster/extinguished flre | | 9 | 18:49 |
| 7-Sep | 7 |  | 611 | Mutual Aid to Lansing/cancelled en route | | 10 | 1:07 |
| 7-Sep | 5 | 502 | 113 | Grill Flre/8531Crestwood/out on arrival,shut off gas to grill | | 11 | 18:43 |
| 8-Sep | 4 | 504 | 611 | Fire Alarm/1721 Inner Circle/cancelled by homeowner | | 12 | 1:07 |
| 9-Sep | 10 | 505 | 744 | Fire Alarm/9730 Warwick Ct/accidental activation | | 13 | 8:45 |
| 9-Sep | 14 | 506 | 154 | Dumpster Fire/Ridge & Manor/extinguished by FD | | 14 | 13:49 |
| 9-Sep | 16 | 507 | 631 | Outside Flre/201Glastonbury/owner burning sticks in legal c:ontalner | | 15 | 13:58 |
| 9-Sep | 16 | 508 | 323 | Pl Accident vehicle vs bicycle/901 Mac Arthur/FD not needed | | 16 | 16:39 |
| 9-Sep | 21 | 509 | 743 | Fire Alarm/9513 Elmwood/set off by mistake by homeowner | | 17 | 19:55 |
| 11-Sep | 14 | 510 | 444 | Wires down/Hohman & Beverly/phone or cable wires-advised dispatch to contact | | 18 | 18:50 |
| 12-Sep | 12 | 511 | 324 | Pl Accident/1000 Ridge Road/FD not needed | | 19 | 4:57 |
| 12-Sep | 18 | 513 | 160 | Brush Fire/Hammond Clinic/extinguished mulch in back lot | | 20 | 14:59 |
| 13-Sep | 9 | 515 | 733 | Fire Alarm/9224 Chestnut/alarm sounding In sarbage can/old detector | | 21 | 9:56 |
| 13-Sep | 14 | 516 | 522 | Water Main Break/7839 Monroe/WO notified/stood by until WO arrived | | 22 | 22:16 |
| 14-Sep | 6 | 517 | 611 | Pl Accident/Calumet & Fisher Pl/FD not needed | | 23 | 7:47 |
| 14-Sep | 11 |  | 611 | Station Coveraae Calumet City/cancelled en route | | 24 | 16:00 |
| 15-Sep | 13 | 522 | 113 | Kitchen fire/26 Beverly/grease pan caught fire/homeowner extinguished with baking soda | | 25 | 12:30 |
| 15-Sep | 16 | 524 | 421 | Gas Odor/1902 Windfled/affected Schererville, Highland/from Enrldge Tank farm | | 26 | 21:39 |
| 16-Sep | 12 | 525 | 131 | V | .ehlcle Flre/8501Calumet/extinguished/total loss | 27 | 22:03 |
| 20-Sep | 10 | 526 | 611 | Pl Accldent/10020 Calumet/cancelled FD not needed | | 28 | 6:35 |
| 21-Sep | 10 | 527 | 611 | Pl Accident/9451 Calumet/cancelled by dispatch | | 29 | 13:49 |
| 22-Sep | 7 | 528 | 736 | CO lllarm/10220 Devonshire/old detector | | 30 | 10:15 |
| 22-Sep | 11 | 529 | 621 | Vehicle Accident/Lions Club & Columbia/Hammond call | | 31 | 21:39 |
| 23-Sep | 10 | 530 | 412 | Gas Leak/8667 White Oak/Great Lake Boring hit gas llne/Nlpsco notified | | 32 | 11:58 |
| 23-Sep | 12 | 531 | 463 | Vehicle Accident/8231 Calumet/FD not needed | | 33 | 15:06 |
| 23-Sep | 14 | 532 | 412 | Gas Odor/10010 Don Powers Drive/used meters to check/nothing found | | 34 | 18:48 |
| 26-Sep | 11 | 533 | 444 | Wires down/8319 Kooy/electric short at service mast/Nipsco terminated power | | 35 | 23:23 |
| 26-Sep | 18 | 534 | 113 | Structure fire/1032 Camellia #1/food burnt/ventllated hallway & apanment | | 36 | 10:09 |
| 26-Sep | 16 | 536 | 154 | Dumpster Fire/True BBQ/extlnaulshed by FD | | 37 | 16:21 |
| 27-Sep | 6 | 537 | 324 | Pl Accident/45th & Calumet/car vs pole/cleaned debris/used oil dry on fluids | | 38 | 3:34 |
| 27-Sep | 8 | 538 | 412 | Outside Gas Leak/1824 Rosewood Ln/fence company hit llne/Nlpsco on scene | | 39 | 8:52 |
| 27-Sep | 8 | 539 | 444 | Wires down/7611 Kinsley/garbage truck hit llnes/Nlpsco, ATT & Comcast notified | | 40 | 9:58 |
| 27-Sep | 10 | 540 | 412 | Inside gas leak/8534 Forest/leak found in basement and outside/Nipsco shut off pending repairs | | 41 | 11:07 |
| 27-Sep | 9 | 541 | 622 | Fire Alarm/Columbia Medical Center/no alarms found/advised mgr to have alarm checked | | 42 | 12:50 |
| 27-Sep | 10 | 542 | 745 | Fire Alarm/Red Lobster/set off by employee who fell off chair/reset alarm | | 43 | 22:55 |
| 28-Sep | 11 |  | 611 | Mutual Aid to LanslnR/cancelled en route | | 44 | 23:55 |
| 29-Sep | 10 | 543 | 322 | Pl Accident/Ridge & Calumet/cleaned up debris and used oil dry/patients transferred to hospital | | 45 | 1:24 |
| 29-Sep | 7 | 544 | 151 | Dumpster Fire/Harvest Room/employee extinguished/FD washed down and cooled dumpsters | | 46 | 13:04 |
| 29-Sep |  | 545 | 324 | Pl Accident/Butterfingers/car drove into door/secured scene/vehicle removed by tow company | | 47 | 15:43 |
| 29-Sep | 22 | 546 | 463 | Pl Accident/one vehicle on Its side/cleaned debrls, used oil dry/tow company set car upright | | 48 | 19:26 |
| 30-Sep | 9 | 547 | 611 | Pl Accident/Ridge & State Line/cancelled en route | | 49 | 13:40 |

### MONTHLY FIRE REPORT

Fire Responses

OCTOBER

2021 2020

TOTAL TO DATE

2021 2020

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Businesses | 8 | 21 |  | 111 | 145 |
| Residential | 28 | 24 |  | 217 | 279 |
| Vehicle | 1 | 1 |  | 13 | 10 |
| Vehicle Accidents | 15 | 15 |  | 120 | 109 |
| Mutual Aid | 2 | 1 |  | 49 | 35 |
| Others | 4 | 1 |  | 22 | 23 |
| TOTAL CALLS | 58 | 63 |  | 532 | 601 |

Malfunction/False Alarms

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Businesses | 6 | 8 |  | 44 | 62 |
| Residential | 7 | 10 |  | 74 | 99 |
| Schools | 1 | 1 |  | 11 | 17 |
| Hospitals/Clinics | 1 | 4 |  | 21 | 27 |
| Other | 0 | 0 |  | 0 | 0 |
| TOTAL | 15 | 23 | ' | 150 | 205 |

Estimated Fire Losses


|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Structure | $ - | $ 3,200.00 |  | $232,500 .00 | $ 101,600.00 |
| Contents | $ - | $ 800.00 |  | $ 73,000.00 | $ 44,700.00 |
| Vehicle | $8,000.00 | $ 3,500.00 |  | $ 39,000.00 | $ 83,000.00 |
| TOTAL | $8,000.00 | $ 7,500.00 |  | $344,500.00 | $ 229,300.00 |

Per.iods of Response

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 6 AM. to 6 P.M. | 44 | 40 |  | 383 | 398 |
| 6 P.M. to 6 A.M. | 14 | 22 |  | 223 | 202 |
| TOTAL | 58 | 62 |  | 606 | 600 |

TraInIng

|  |  |  |  |
| --- | --- | --- | --- |
| Regular Scheduled Sessions | 3 | 2 | r |
| Total TraininQ Hours | 6 | 5 |  |
| Total Attendance | 71 | 66 |  |
| Average Per Drill | 23 | 22 | II |



47

103

41

69

309

662

326

541

M'1Ieage Report

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Truck 2221 | 62 | 93 |  | | 657 | 737 |
| Engine 2222 | 34 | 116 |  | | 269 | 665 |
| Engine 2223 | 150 | 0 |  | | 1288 | 982 |
| Engine 2224 | 189 | 152 |  | | 1123 | 1117 |
| Engine 2225 | 158 | 216 |  | | 1231 | 1361 |
| Engine 2226 | 77 | 24 |  | | 615 | 632 |
| Car 2250 (C22) | 35 | 225 |  | | 418 | 950 |
| Car 2251(C23) | 99 | 187 |  | | 637 | 1507 |
| Car 2252 (C122) | 46 | 923 |  | | 2461 | 9000 |
| Chief 2200 | 505 | 408 |  | | 4237 | 3910 |
| Battaltion Chief 2201 | 203 | 611 |  | | 2603 | 7410 |
| Battalion Chief 2203 | 476 | 25 |  | | 3132 | 2989 |
| TOTAL | 2034 | 2980 |  |  | 18671 | 31260 |

# October Fire Calls 2021

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Date | People | Run# | NIFRS | Type & Location | # | Time |
| 2-0ct | 7 | 548 | 412 | Gas Leak/7940 Tapper/hot water Issue/shut off until repaired | 1 | 0:07 |
| 3-0ct | 17 | 549 | 814 | Lightning Strike/8138 Northcote/ventilated structure/reset breakers | 2 | 13:53 |
| 3-0ct | 14 | 550 | 733 | Fire Alarm/Hartsfield Village/nothing found | 3 | 17:02 |
| 4-0ct | 8 | 551 | 746 | CO Alarm/Noodles & Company/hood fans not turned on | 4 | 7:51 |
| 4-0ct | 10 | 552 | 412 | Outside Gas eak/1102 Fran Lin/Fence company hit line | 5 | 12:57 |
| 5-0ct | 8 | 553 | 445 | Nlpsco oole fire/8329 Walnut/Nlpsco arrived, cut power, fire eKtinguished | 6 | 4:44 |
| 5-0ct | 12 | 554 | 311 | EMS Assist/8150 Linden/removed bathroom door to assist patient who fell | 7 | 13:27 |
| 6-0ct | 18 | 555 | 463 | Pl Accident/Columbi a & Melbrook/Cleaned up debris, traffic control | 8 | 21:38 |
| 7-0ct | 9 | 556 | 743 | Smoke Alarm/Westmi nster Church/doing alarm inspection | 9 | 14:42 |
| 7-0ct | 15 | 557 | 671 | Outside Gas Odor/Hohman & Broadmoor/nothing found in area | 10 | 14:52 |
| 7-0ct | 15 |  | 611 | Auto aid to Lansing/cancelled | 11 | 20:44 |
| 8-0ct | 17 | 558 | 322 | Pl Accident/8124 Calumet/turned scene over to EMS | 12 | 15:11 |
| 8-0ct | 15 | 559 | 322 | Pl Accident/Woodl awn & Ridgeway/FD not needed | 13 | 16:08 |
| 9-0ct | 12 | 560 | 743 | Fire Alarm/512 School/nothing found in home | 14 | 7:40 |
| 9-0ct | 21 | 561 | 733 | Fire Alarm/8222 Kooy/owner set off when changing battery | 15 | 14:23 |
| 9-0ct | 9 | 562 | 324 | Pl Accident/9430 Larch/Pole down/taped off area/PD remained until Nlpsco | 16 | 18:47 |
| 9-0ct | 12 | 563 | 463 | Pl Accident/45th & Calumet/cleaned up debris, assisted medics with patients | 17 | 20:05 |
| 10-0ct | 12 | 564 | 736 | Fire-CO Alarm/323 Norwich Ct./home checked, nothing found | 18 | 17:21 |
| 11-0ct | 10 | 565 | 412 | Gas Leak/9607 Dogwood/leak found in kitchen, Nlspsco on scene | 19 | 9:28 |
| 11-0ct | 13 | 566 | 611 | Flooded intersection/Manor & Fisher/FD not needed | 20 | 17:30 |
| 12-0ct | 5 | 567 | 611 | Pl Accldent/45th & Calumet/FD was cancelled | 21 | 7:50 |
| 12-0ct | 8 | 568 | 444 | Wires down/9257 Foliage/taped off area/waited for Nlpsco to arrive | 22 | 9:04 |
| 12-0ct | 10 | 569 | 463 | Pl Accident/9307 Calumet/cleaned up debris, traffic control | 23 | 14:43 |
| 12-0ct | 21 | 570 | 412 | Gas leak/530 Cambridge Ct, 18/nothlng found | 24 | 20:07 |
| 13-0ct | 8 | 571 | 463 | Pl Accident/444 Ridge Road/struck pole on Speedway property | 25 | 0:27 |
| 13-0ct | 10 | 572 | 412 | Gas Leak/Construction company hit underground/monitored until Nipsco arrived | 26 | 10:32 |
| 14-0ct | 11 | 573 | 412 | Gas Leak/ATT hit gas line installing pedestal/Nipsco notified | 27 | 9:09 |
| 16-0ct | 13 | 574 | 911 | Smoke/45th & Calumet/open burning by FD | 28 | 10:18 |
| 16-0ct | 13 | 575 | 631 | Smoke/Davita Dialysis/open burning by FD | 29 | 11:49 |
| 16-0ct | 13 | 576 | 561 | Smoke outside/8126 Meadow/resident burning leaves/advised he cannot, fire extinguished | 30 | 17:05 |
| 16-0ct | 6 | 577 | 311 | EMS Assist/435 Old Stone Road Apt. 2/Knox box to gain entry/assisted EMS | 31 | 17:42 |
| 18-0ct | 8 | 578 | 463 | Pl Accident/R idge & Columbia/Traffic control and debris clean up/2 vehicles involved | 32 | 7:42 |
| 18-0ct | 8 | 579 | 743 | Fire Alarm/Munster High School/caused by spray painting/scene secured | 33 | 7:46 |
| 18-0ct | 11 | 580 | 736 | CO Alarm/1815 Tulip Lane/bad batteries in detector/FD replaced them | 34 | 12:46 |
| 18-0ct | 13 | 581 | 461 | Vehicle into bullding/19 Ridge A Vacuum Repairs/no structural damage/1800 Board up | 35 | 13:14 |
| 18-0ct | 10 | 582 | 611 | EMS Assist/force entry/call was cancelled | 36 | 14:27 |
| 18-0ct | 10 | 583 | 611 | Fire Alarm/1438 Coventry/cancelled by alarm company | 37 | 22:18 |
| 19-0ct | 13 | 584 | 444 | Wires Down/1633 Holly/cable wire pulled from home,advised to notify Comcast | 38 | 17:47 |
| 19-0ct | 15 | 585 | 412 | Gas odor/743 Fisher Pl/propane grill left on/turned off knobs/odor dlsipated | 39 | 18:05 |
| 20-0ct | 8 | 586 | 611 | Fire Alarm/535 Progress/cancelled by alarm compnay | 40 | 12:34 |
| 20-0ct | 10 | 587 | 743 | Fire Alarm/9131 Columbia/homeowner changing batteries | 41 | 14:13 |
| 20-0ct | 15 | 588 | 463 | Pl Accident/Cal umet & Columbia/cleaned up debris, traffic control | 42 | 16:58 |
| 23-0ct | 10 | 589 | 522 | Fire Assist/1331 Brookside, Apt. 2/water from celling from upstairs apt/turned off water | 43 | 13:29 |
| 24-0ct | 12 | 590 | 522 | Fire Assist/8041 Columbia/water main break | 44 | 8:55 |
| 24-0ct | 16 | N/A | 611 | Mutual Aid to Lansing/cancelled en route | 45 | 11:00 |
| 24-0ct | 11 | 591 | 522 | Electrical Flre/1826 Camellia Apt. D2/water coming through outlets & fixtures/clogged drains | 46 | 23:06 |
|  |  |  |  | on roof with over 2 feet of standing water. Cleared drains |  |  |
| 25-0ct | 9 | 592 | 444 | Fire Electrical/tree fell bring wires down/smoke in home/waited 90 mins for Nipsco | 47 | 10:37 |
| 25-0ct | 12 | 593 | 733 | Fire Alarm/Chase Bank/testing system | 48 | 13:46 |
| 25-0ct | 8 | 594 | 322 | Pl Accident/River & Hohman/vehicle snapped pole, waited for Nipsco | 49 | 23:48 |
| 26-0ct | 4 | 595 | 741 | Fire Alarm/475 Superior/forklift bumped fire hose valve/alarm reset by maintenance | so | 6:07 |
| 28-0ct | 7 | 596 | 352 | PlAccident/Calumet & Main-Dyer/extricate driver and create landing zone for UCAN | 51 | 6:46 |
| 28-0ct | 8 | 597 | 651 | Smoke in area/Fisher & Calumet/caused by generator starting up | 52 | 8:21 |
| 28-0ct | 12 | 598 | 731 | Fire Alarm/Fed Ex/ground fault In flre pump room/notified manager to repair | 53 | 14:36 |
| 30-0ct | 16 | 599 | 131 | Car fire/Jodi's Italian Ice/extinguished fire/checked building for extension/taped off area | 54 | 0:58 |
| 30-0ct | 16 | 600 | 322 | Pl Acc ident/vehicle Into pole/cleaned up debris/waited on tow | 55 | 4:02 |
| 30-0ct | 6 | 601 | 611 | Lift Assist/605 Main St/cancelled by EMS | 56 | 7:55 |
| 30-0ct | 12 | 602 | 611 | lift Assist/605 Main St/cancelled by EMS | 57 | 17:03 |
| 31-0ct | 15 | 603 | 322 | Pl Accident/Chestnut & Tulip/cleaned up debrls,Nlpsco shut power off. | 58 | 13:06 |