Flre Responses

MONTHLY FIRE REPORT

### AUGUST

2021 2020

### TOTAL TO DATE

2021 2020

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Businesses | 21 | 23 |  | 92 | 105 |
| Residential | 19 | 26 | ;; | 169 | 226 |
| Vehicle | 1 | 0 |  | 11 | 7 |
| Vehicle Accidents | 8 | 10 | I | 92 | 82 |
| Mutual Aid | 4 | 4 | I | 45 | 32 |
| Others | 3 | 1 |  | 16 | 22 |
| TOTAL CALLS | 56 | 64 | I | 425 | 474 |

Malfunction/False Alanna

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Businesses |  | 10 | 11 |  | 35 | 49 |
| Residential | | 10 | 6 |  | 61 | 85 |
| Schools | | 0 | 4 |  | 9 | 12 |
| Hospitals/Clinics | | 3 | 4 |  | 17 | 21 |
| Other | | 0 | 0 |  | 0 | 0 |
| TOTAL | | 23 | 25 | II | 122 | 167 |

Estimated Fire Losses

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Structure | $ | - | $ | - |  | $202,500.00 | $ 98.400.00 |
| Contents | $ | - | $ | - |  | $ 33.000.00 | $ 43,900.00 |
| Vehicle | $ | . | $ | - |  | $ 25,000.00 | $ 79,500.00 |
| TOTAL | $ | - | $ | - |  | $260,500.00 | $ 221,800.00 |

Perlods of Response

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 6 AM. to 6 P.M | 42 | 44 |  | 308 | 312 |
| 6 P.M. to 6 AM. | 14 | 20 |  | 191 | 162 |
| TOTAL | 56 | 84 |  | 499 | 474 |

TraIni.ng

I

|  |  |  |  |
| --- | --- | --- | --- |
| Rei:iular Scheduled Sessions | 3 | 3 | *l* |
| Total Training Hours | 6 | 6.5 | - |
| Total Attendance | 69 | 78 | - I |
| Average Per Drill | 23 | 26 |  |

1 . - I

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Ins ections |  | | | |
| Number of Inspections | 41 | 41 | 211 | 247 |
| Number of Violations | 92 | 79 | 436 | 410 |
| Miieage Report |  |  |  |  |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Truck 2221 | 25 | 42 | | . | | 577 | 616 |
| Engine 2222 | 11 | 22 | | -  - | | 227 | 497 |
| Engine 2223 | 140 | 89 | | - | -.;;;:::=- | 969 | 855 |
| Engine 2224 | 46 | 50 | | - | . .: | 776 | 886 |
| Engine 2225 | 74 | 139 | | -  - - | | 980 | 961 |
| Engine 2226 | 57 | 38 | |  | | 480 | 527 |
| Car 2250 (C22) | 34 | 29 | | ,\_ | | 363 | 721 |
| Car 2251(C23) | 15 | 5 | |  | | 518 | 1313 |
| Car 2252 (C122) | 71 | 0 | 1 1 | | - | 2395 |  |
| Chief 2200 | 431 | 902 | ! · | | - | 3322 | 7107 |
| Deputy Chief 2201 | 363 | 373 | |  | | 2173 | 3218 |
| Battalion Chief 2203 | 352 | 143 | ' i - | | | 2196 | 2425 |
| TOTAL | 1619 | 1832 | |  | | 14978 | 19126 |

**August Fire Calls 2021**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Date | People | Run# | NIFRS | Type & Location | # | Time |
| 1-Aug | 10 | 415 | 353 | Person stuck In elevator/Franciscan/Had to prv open | 1 | 14:14 |
| 2-Aug | 8 | 416 | 743 | Fire Alarm/9751 lndlana Parkway/set off by dust from construction | 2 | 15:15 |
| 2-AUR | 10 | 417 | 736 | CO Alarm/9148 Elmwood/homeowner changing batteries | 3 | 17:31 |
| 3-Aug | 13 | 418 | 412 | Gas Leak/10257 Margo/contractor hit line | 4 | 9:54 |
| 4-Aug | 5 | 420 | 733 | Fire Alarm/Community Hospital/bad detector in Surgery #2 | 5 | 5:25 |
| 4-Aug | 15 | 421 | 154 | Dumpster fire/1628 Camellia Or/extlnRuished | 6 | 15:56 |
| 4-Aug | 15 | 422 | 463 | Pl Accident/Ridge & Baring/cleaned up debris, used oil dry on fluids | 7 | 17:49 |
| 5-AUll | 3 | 423 | 736 | CO Alarm/8522 Forest/no CO in home/changed battery in detector | 8 | 13:12 |
| &-Aug | 9 | 424 | 322 | Vehicle Fire/Calumet & River/Hammond call | 9 | 12:49 |
| &-Aug | 14 | 425 | 412 | Gas Leak/9816 Wiidwood/stove knob left on/ventilated building | 10 | 19:08 |
| 8-AUR | 10 | 426 | 571 | Mutual Aid/1248 Pulaski,Calumet City/station coverage | 11 | 1:41 |
| 8-Aug | 13 | 427 | 352 | Pl Accident/Manor & Ridge/cleaned up debris, oil dry on fluids | 12 | 16:06 |
| 9-Aug | 12 | 428 | 735 | Fire Alarm/St. Pauls/fire alarm dialer issue/notified alarm company | 13 | 10:42 |
| 9-AUR | 25 | 429 | 444 | Wires down/21 Rld11e Rd/AT&T notified of several wires down/taped off area | 14 | 20:15 |
| 10-Aug | 10 | 430 | 743 | Fire Alarm/The Simple Greek/Issue was low battery | 15 | 9:01 |
| 10-AUll | 12 | 431 | 733 | Smoke Alarm/445 Old Stone Rd/advised management to replace detector | 16 | 15:50 |
| 10-Aug | 27 | 432 | 444 | Wires down/8726 Meadow/Tree limb on wlres/Nlpsco notified/taped area | 17 | 19:46 |
| 11-Aug | 17 | 434 | 622 | Person stuck In elevator/Family Christian Center/nothing found on arrival | 18 | 18:28 |
| 12-Aug | 8 | 435 | 542 | Cat In Tree/1906 Camelia D-1/cat came down, removed leash from tree | 19 | 12:47 |
| 12-AUll | 19 | 437 | 611 | Mutual Aid to Dyer/Cancelled en route | 20 | 16:30 |
| 13-Aug | 14 | 438 | 412 | Outside gas odor/Franciscan Sleep Studies/checked with meter, no findings | 21 | 12:38 |
| 13-Aug | 17 | 439 | 733 | Fire Alarm/1020 Treadway/malfunction with alarm | 22 | 15:50 |
| 13-Aug | 19 | 440 | 463 | Pl Accident/9300 Calumet/assisted driver getting out of vehicle | 23 | 21:33 |
| 14-Aug | 16 | 441 | 424 | CO Alarm/7946 Llnden/nothinR found, old detector | 24 | 14:30 |
| 15-AUR | 9 | 444 | 324 | Pl Accident/occurred on expressway/no assistance needed | 2S | 4:33 |
| 15-Aug | 13 | 447 | 611 | Vehicle Fire/Hohman & River/Lansing call | 26 | 17:17 |
| 16-Aug | 11 | 449 | 324 | Pl Accident/8231 Calumet/FD not needed | 27 | 7:53 |
| l&-Aug | 13 | 450 | 611 | Mutual Aid to Lansing/cancelled en route | 28 | 15:35 |
| 18-Aug | 13 | 451 | 641 | Smoke Alarm/8600 Harrison/no alarm, crickets chirping | 29 | 8:06 |
| 18-Aug | 12 | 452 | 611 | Sick Person/walking by MHS/FD not needed | 30 | 13:23 |
| 18-Aug | 16 | 453 | 322 | Pl Accldent/10 45th/cleaned up debris, used oil *dry* on spills | 31 | 16:46 |
| 19-Aug | 8 | 454 | 731 | Water Flow Alarm/GE Center/broken sprinkler head | 32 | 1:24 |
| 19-AUR | 6 | 455 | 731 | Water Flow Alarm/GE Center/Issue from earlier | 33 | 5:28 |
| 20-AUll | 6 | 456 | 733 | Fire Alarm/St. Thomas More/bad detector | 34 | 1:42 |
| 21-Aug | 19 | 4S7 | 733 | Fire Alarm/10110 Don Powers Dr./alarm malfunction | 35 | 7:59 |
| 21-Aug | 15 | 458 | 611 | Fire Asslst/Hohman&Terrace/water main break/cancelled by dispatch | 36 | 9:14 |
| 21-Aug | 12 | 459 | 611 | EMS BreathlnA/2300 Great Lakes Dr-Dyer call | 37 | 16:49 |
| 22-Aug | 14 | 460 | 555 | Elevator Alarm/Faith Church/nothing found | 38 | 10:18 |
| 22-Aug | 13 | 461 | 743 | Fire Alarm/Hartsfield Village/elevator alarm malfunction | 39 | 12:18 |
| 24-Aug | 4 | 463 | 463 | Fire Asslst/8153 Frederick/cleaned fluids on 11round from accident | 40 | 2:13 |
| 24-Aug | 8 | 464 | 311 | EMS Fall/9838 Pasturegate Ln/pt fell down stairs/assisted bringing him up | 41 | 12:48 |
| 24-Aug | 10 | 465 | 733 | Smoke Alarm/Munster Med Inn/bad detector | 42 | 13:40 |
| 24-Aug | 10 | 466 | 611 | Smoke Alarm/PRI Asphalt/cancelled bv alarm company | 43 | 14:29 |
| 24-Aug | 18 | 467 | 111 | Structure Fire/2690 Forest Park Dr/mutal aid to Dyer | 44 | 16:S6 |
| 25-Aug | 13 | 468 | 743 | Fire Alarm/Town Hall/detector malfunction | 45 | 10:24 |
| 25-Aug | 18 | 469 | 611 | Pl Accldent/7953 Calumet/cancelled | 46 | 16:11 |
| 2S-Aug | 19 | 470 | 331 | EMS Fall/9651 Calumet Ave/called to force entry/PD had already made entry | 47 | 20:24 |
| 26-AUR | 19 | 472 | 733 | Smoke Alarm/10023 Margo Lane/detector activated due to loss of power | 48 | 22:19 |
| 28-Aug | 11 | 474 | 743 | Fire Alarm/9837 Wiidwood Apt. 2A/set off from burnt food | 49 | 12:04 |
| 28-Aug | 11 | 475 | 311 | EMS Overdose/Target parkinA lot/adminstered Narcan | so | 12:11 |
| 28-Aug | 11 | 476 | 311 | EMS Assist/9134 Holly Lane/boy hit head in pool/transported to Community | 51 | 12:21 |
| 30-Aug | 8 | 482 | 733 | Fire Alarm/1020 Treadway/no Issue found | 52 | 9:51 |
| 30-Aug | 7 | 483 | 733 | Fire Alarm/7935 Calumet/malfunction with alarm | 53 | 14:34 |
| 31-Aug | 8 | 484 | 412 | Gas Odor/Athens Pita/floor fan blew out pilot llghts,ventllated | 54 | 10:45 |
| 31-Aug | 10 | 485 | 611 | Missing Person Search/9510 White Oak/PD located person | SS | 1S:06 |
| 31-Aug | 10 | 486 | 715 | Fire Alarm/930 Camellia/pulled by juveniles, PD had them in custody | 56 | 15:39 |