MONTHLY FIRE REPORT

Fire Responses

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Businesses | 20 | 11 |  | 77 | 59 |
| Residential | 15 | 28 |  | 97 | 128 |
| Vehicle | 0 | 4 |  | 4 | 8 |
| Vehicle Accidents | 7 | 19 |  | 69 | 71 |
| EMS | 4 | 0 |  | 16 |  |
| Mutual Aid | 5 | 8 |  | 34 | 36 |
| Others | 1 | 4 |  | 7 | 13 |
| TOTAL CALLS | 52 | 74 |  | 304 | 315 |

JUNE

2022 2021

TOTAL TO DATE

2022 2021

Malfunction/False Alarms

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Businesses | 8 | 4 |  | 39 | 18 |
| Residential | 4 | 10 |  | 39 | 43 |
| Schools | 0 | 4 |  | 5 | 9 |
| Hospitals/Clinics | 4 | 0 |  | 12 | 13 |
| Other | 0 | 0 |  | 1 | 0 |
| TOTAL | 16 | 18 | I i | 96 | 83 |

Estimated Fire Losses

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Structure | $ | - | $ - |  | $ | 16,000.00 | $202,500.00 |
| Contents | $ | - |  |  | $ | 12,500.00 | $ 33,000.00 |
| Vehicle | $ | $25,000.00 |  | $ | 34,500.00 | $ 25,000.00 |
| TOTAL | $ | - | $25,000.00 |  | $ | 63,000.00 | $ 260 ,500.00 |

Periods of Response

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 6 A.M. to 6 P.M. | 34 | 44 |  | 198 | 229 |
| 6 P.M. to 6 AM. | 17 | 30 |  | 105 | 160 |
| TOTAL | 51 | 74 |  | 303 | 389 |

Training

|  |  |  |
| --- | --- | --- |
| Regular Scheduled Sessions | 3 | 3 |
| Total Training Hours | 6 | 8 |
| Online Training Hours | 3 | 0 |
| Total Attendance | 69 | 78 |
| Average Per Drill | 23 | 26 |

|  |  |
| --- | --- |
| Inspections |  |
| Number of Inspections | 67 | 37 | 332 | 137 |
| Number of Violations | 237 | 59 | 1142 | 273 |

**June Fire Calls 2022**

**Date People Run# NIFRS Type & Location** # **Time**

-10 -

307 671 BMO Harris Bank/odor/nothing found on arrival 1 10:57

6/2 8 309 444 Wires down/10417 Columbia/Comcast cable line 2 10:28

6/2 11 310 412 Gas Leak/Lucv n & Allison Rd/Construction Company hit 2" gas line/Nipsco arrived 3 12 :38

17 311 611 Pl Accident/Burlwood & Main/Disregard from PD 4 16:29

6/3 9 314 111 Mutual Aid to Over for structure fire 5 12 :23

6/3 12 318 743 Smoke Alarm/Tobacco Land/caused by customer smoking 6 14:52

6/6 15 319 746 CO Alarm/Noodles & Company/alarm reset before arrival, 0 readings 7 14 :54

6/6 11 320 736 CO Alarm/7634 Hohman, Apt D/homeowner threw detector in trash, advised to replace 8 22:24

6/6 8 321 745 Smoke Alarm/Hartsfield Village/maintenace had been cleaning ducts/reset alarm 9 23:30

6/7 11 322 736 CO Alarm/Noodles & Company/nothing found/manager calling for repair 10 15 :31

6/B 12 323 311 EMS Assist for full arrest/233 Sunnyside/moved patient. performed compressions 11 8:40

6/8

12 325 311

EMS Assist/8503 Baring/requested by Superior for lift assist

13 -1-8-:-0-6-

6/8 16 324 542 Rescue/Columbia & River Dr./removed baby ducks from sewer 12 14:24

6/10 8 326 743 Smoke Alarm/1910 Somerset/homeowner changed batteres 14 19 :18

6/12 10 327 735 Water Flow Alarm/Town Hall/silenced alarm/wa ited on Nipsco to check electricity 15 5 :40

6/12 10 328 622 Water lssue/9544 Northcote/caused by wa ter draining from neighbors pool 16 11:53

6/12 11 329 324 Pl Accident/7951 Calumet/FD not needed 17 13:25

6/12 17 330 531 Odor/9131 Walnut Dr/issue in area/homeowner did not want home checked 18 20:37

6/13 4 331 745 Smoke Alarm/8420 Oakwood/fa lse alarm, child playing with alarm 19 9 :01

6/13 8 332 424 CO Alarm/223 Sunnyside/no readings found in home 20 11:24

6/13 10 333 733 Smoke Alarm/Calumet Hospice/zero readings found 21 13:53

6/13

13 334 733 Smoke Alarm/ calumet Hosplce/iero readings found/found bad detector 22 14 :26

6/13 8 336 **412** Gas Odor/10418 White Oak Ln. 3A/found issue with stove, disconnected needs repair **23** 15:29 6/13 24 337 311 EMS Lift Assist/108 Beverly Pl/provided manpower to move to cot and then ambulance 24 20:10 6/14 5 338 745 Fire Alarm/9200 Calumet/company doing alarm testing 25 3 :21

6/15 23 339 142 Mulch Fire/Harvest Room/extinguished with booster line 26 16:28

6/15 18 340 571 Station Coverage/Schererville Fire Department 27 17:34

6/15 1 341 111 Mutual Aid to Crown Point for structure fire 28 17:45

6/15 19 342 142 Mulch Fire/Franciscan Hospital/extinguished with booster line 29 18:14

6/15 4 343 311 Mutual Aid/Schererville FD for EMS 30 18 :51

6/16 15 345 622 Branch on fire from electrical wlre/8416 Crestwood 31 16:44

6/17 14 346 412 Gas Leak/1918 Mirmar Lane/propane tank had leak 32 17:55

6/18 8 347 611 Pl Accident/R idge & Hohman/FD not needed 33 19:19

6/19 9 348 571 Station Coverage/Calumet City 34 0:04

6/19 11 349 142 Brush Fire/The Times/extinguished by FD 35 14 :20

6/19 8 350 142 Railroad ties on fire/The Times/extinguished by FD 36 16:20

6/19 11 351 743 Smoke Alarm/The Times/caused from Nipsco restoring power 37 18:08

6/21 9 352 322 Car vs Pedestrlan/915 Ridge/FD not needed 38 7:32

6/21 11 353 160 Mulch Fire/PNC Bank/extinguished with booster line 39 13:28

6/21 19 354 531 Odor/10204 Royal Court/fertilizer in garage/vented area by openfng door 40 17:52

6/22 14 355 463 Pl Accident/Fox Run & Main St/2 patients transported 41 18:10

6/22 19 356 424 CO Alarm/Noodles & Co/issue with hood vent & noodle cooker/rest aurant closed 42 19:52 for the evening until systems can be serviced

6/24 11 357 412 Gas odor/1608 White Oak 3C/leak at stove/Nipsc o on scene 43

,10:38

6/25 10 358 611 Smoke Alarm/Dante's/Cancelled en route 44 16:33

6/25 12 359 463 Pl Accident/Southwood & 45th/asslsted medics and covered fluids 45 17:06

6/25 12 360 311 Lift Asslst/8503 Baring/moved patient from llv!ng room to stretcher 46 17:14

6/26 17 361 160 Outside fire/427 Fisher Pl/fireworks box on fire/ext inguished and soaked box 47 22:06

6/27 6 362 444 Wires down/8642 Jefferson/closed street, Nipsco notified 48 7:57

6/27 7 363 611 Smoke alarm/3 Flovds/cancelled enroute/alarms being tested 49 9:27

6/27 9 364 733 Smoke Alarm/Hartsfield Village/dirty smoke detector tripped alarm so 11:33 6/28 11 365 743 Smoke Ala rm/Cafe Borgla/HVAC svstem being cleaned

51 15 :35

6/29 20 366-67 352 Vehicle Accident/Ridge & Greenwood/extricated victim, clean